ANNEX 1

to the Order of the BRML General Director no. 148/2012 (OJ 361/29.V.2012) - in force from 29.XI.2012

amended by Order no. 463/2013 (OJ 741/29.XI.2013) - in force from 01.01.2014

OFFICIAL LIST

of measuring instruments subject to legal control L.O. - 2012

Încărcare text...

Art. 1. – In compliance with Government Ordinance no. 20/1992 on metrological activities, approved and amended by Law no. 11/1994, with subsequent modifications and amendments, this document lays down the categories and types of measuring instruments subject to legal control – the table, the applicable control methods, as well as the maximum allowed intervals between two succesive verifications.

Tabel – Categories and types of measuring instruments subject to legal control

| No. | Categories | Types | Control methods | Interval (years)1) |
| --- | --- | --- | --- | --- |
|  | Position | Name | Position | Name |  |  |
| 0 | 1 | 2 | 3 | 4 | 5 | 6 |
| 1 | L3 | Electronic equipment for round wood measurements | L3-1 | Electronic equipment for round wood measurements | TA;IV;PV | 2 |
| 2 | L7 | Material measures for length | L7-1 | Graduated rulers for fabric lenth measurements | IV-EEC;PV | 2 |
|  |  |  | L7-2 | Graduated rulers for tank-level measurements | IV-EEC;PV | 2 |
|  |  |  | L7-3 | Tape measures | IV-EEC;PV | 2 |
| 3 | L14 | Dimensional measuring instruments | L14-1 | Length measuring instruments | IV;PV | 2 |
|  |  |  | L14-2 | Area measuring instruments | IV;PV | 2 |
|  |  |  | L14-3 | Multidimensional measuring instruments | IV;PV | 2 |
| 4 | L15 | Instruments for measuring liquid level | L15-1 | Instruments for measuring the level of liquids in fixed storage tanks | TA; IV; PV | 2 |
| 5 | L21 | Liquid volume measures | L21-2 | Liquid volume measures used in direct sales | IV;PV | 1 |
| 6 | L25 | Tankers | L25-1 | Road tankers | TA; IV;PV | 6 |
|  |  |  | L25-2 | Rail tankers | TA; IV;PV | 6 |
| 7 | L28 | Liquid storage tanks | L28-1 | Storage tanks for liquids other than liquefied gases | IV;PV | 12 |
| 8 | L30 | Continuous and dynamic measuring systems for quantities of liquids other than water | L30-1 | Measuring systems for liquids other than water of up to DN 400 mm: - measuring systems installed on pipes - measuring systems installed on road tankers - measuring systems installed on locomotives - measuring systems used for loading/ unloading ships, road tankers and/or rail tankers - milk measuring systems - measuring systems for refueling of aircrafts - measuring instruments for liquefied fuel-gases (other than fuel dispensers) | IV/IV-EEC; PV | 3 |
|  |  |  | L30-2 | Meters for liquids other than water, of up to DN 400 mm | IV/IV-EEC; PV | 3 |
|  |  |  | L30-3 | (Flow rate) Calculators for measuring systems for quantities of liquids, other than water | IV; PV | 3 |
|  |  |  | L30-4 | Fuel dispensers | IV/IV-EEC; PV | 1 |
|  |  |  | L30-5 | Pressure transducers for measuring systems for quantities of liquids, other than water | IV; PV | 3 |
|  |  |  | L30-6 | Temperature transducers (thermoresistance) / temperature adaptors for measuring systems for quantities of liquids, other than water | IV; PV | 3 |
|  |  |  | L30-7 | Flow transducers for measuring systems lor quantities of liquids other than water | IV; PV | 3 |
|  |  |  | L30-8 | Electronic calculators for fuel dispensers for road vehicles | IV | - |
|  |  |  | L30-9 | Density transducers for measuring systems for quantities of liquids other than water | IV; PV | 3 |
| 9 | L32 | Water meters | L32-1 | Meters for cold, clean water, of up to DN 200 mm | IV4)/IV-EEC; PV | 7 |
|  |  |  | L32-2 | Meters for hot, clean water, of up to DN 200 mm | IV4)/IV-EEC; PV | 4 |
| 10 | L33 | Gas meters | L33-5 | Volume-conversion devices | TA; IV; PV | 8 |
|  |  |  | L33-6 | Gas meters with maximum flowrate of up to 2500 m3/h | TA;IV/IV-EEC; PV | 8 |
| 11 | L37 | Measuring systems for quantities of fuel gas | L37-2 | Measuring systems with diaphragm for fuel gas quantities, including their subassemblies | TA;IV;PV | 2 |
|  |  |  | L37-11 | Measuring systems for gas quantities with maximum flowrate of up to 2500 m3/h, other than those from position L37-2, including their subassemblies | PV | 2 |
| 12 | L44 | Instruments for measuring the speed of road vehicles (cinemometers) | L44-1 | Instruments for the measurement of the speed of road vehicles (cinemometers) | TA;IV;PV | 1 |
| 13 | L45 | Installations for measuring the speed of locomotives and subway train sets | L45-1 | Installations for the measurement of the speed of locomotives and subway train sets | TA;IV;PV | 1 |
| 14 | L48 | Taximeters | L48-1 | Electronic taximeters | IV;PV | 1 |
| 15 | L49 | Working weights | L49-1 | Weights classes E2, F1, F2, M1, M2, M3 | IV/IV-EEC;PV | 1 |
| 16 | L51 | Instruments for measuring the hectolitre mass of cereals | L51-2 | Cereal scales of 1 l | TA;IV;PV | 1 |
| 17 | L52 | Non-automatic weighing instruments | L52-1 | Non-automatic weighing instruments | PV | 1 |
| 18 | L53 | Automatic weighing instruments | L53-1 | Automatic catchweighing instruments | IV/IV-EEV;PV | 1 |
|  |  |  | L53-2 | Continuous totalizing weighing instruments | IV/IV-EEC;PV | 1 |
|  |  |  | L53-3 | Discontinuous totalizing weighing instruments | IV;PV | 1 |
|  |  |  | L53-4 | Automatic gravimetric filling instruments | IV;PV | 1 |
|  |  |  | L53-5 | Automatic rail-weighbridges | IV;PV | 1 |
| 19 | L55 | Installations for weighing road vehicles in motion | L55-1 | Installations for weighing road vehicles in motion | TA;IV;PV | 1 |
| 20 | L59 | Rigs for testing the braking system of road vehicles | L59-1 | Rigs for testing the braking system of road vehicles | TA;IV;PV | 1 |
| 21 | L62 | Pressure gauges | L62-3 | Tire pressure gauges for motor vehicles | TA/TA-EEC; IV/IV-EEC;PV | 1 |
| 22 | L73 | Thermal energy meters | L73-1 | Thermal energy meters, up to DN 200 mm | IV; PV | 4 |
|  |  |  | L73-2 | Calculators for thermal energy meters | IV; PV | 4 |
|  |  |  | L73-3 | Temperature sensor pairs for thermal energy meters | IV; PV | 4 |
|  |  |  | L73-4 | Flow sensor for thermal energy meters, up to DN 200 mm | IV4); PV | 4 |
| 23 | L75 | Thermal energy meters in open circuit | L75-1 | Thermal energy meters in open circuit, up to DN 200 mm, including their sub-assamblies | TA;IV;PV | 4 |
| 24 | L79 | Measuring transformers | L79-1 | Measuring current transformser | TA;IV | - |
|  |  |  | L79-2 | Measuring voltage transformers | TA;IV | - |
| 0 | 1 | 2 | 3 | 4 | 5 | 6 |
| 25 | L81 | Active electrical energy meters | L81-1 | Active electrical energy meters | TA;IV/IV-EEC; PV | 10 |
| 26 | L82 | Reactive electrical energy meters | L82-1 | Reactive electrical energy meters | TA;IV;PV | 10 |
| 27 | L88 | Opacimeters | L88-1 | Opacimeters for Diesel engines | TA;IV;PV | 1 |
| 28 | L89 | Dioptrometers | L89-1 | Dioptrometers | PV | 2 |
| 29 | L92 | Instruments for sound pressure measurements relating to occupational safety and environment protection | L92-2 | Sound level meters | IV;PV | 1 |
|  |  |  | L92-4 | Noise dosimeters | IV;PV | 1 |
|  |  |  | L92-5 | Individual sound exposure meters | IV;PV | 1 |
| 30 | L106 | Refractometers and polarimeters for the measurement of sugar content | L106-1 | Refractometers for measurement of sugar content | TA;IV;PV | 1 |
|  |  |  | L106-2 | Polarimeters for measurement of sugar content | TA;IV;PV | 1 |
| 31 | L108 | Alcoholmeters | L108-1 | Alcoholmeters | TA/TA-EEC; IV/IV-EEC;PV | 2 |
| 32 | L112 | Moisture meters | L112-1 | Moisture meters for gereal grains and oilseeds | TA; IV;PV | 1 |
|  |  |  | L112-2 | Umidimetre pentru eşantioane de lemn | TA;IV;PV | 1 |
|  |  |  | L112-3 | Umidimetre pentru tutun | TA;IV;PV | 1 |
| 33 | L117 | Gas analyzers | L117-1 | Gas analyzers for vehicle exhaust emissions | IV;PV | 1 |
| 34 | L119 | Gas chromatographs | L119-1 | Gas chromatographs | TA;IV | - |
| 35 | L121 | Ethylometers | L121-1 | Ethylometers | TA;IV;PV | 1 |
| 36 | L124 | Contamination meters | L124-1 | Contamination meters | IV;PV | 3 |
| 37 | L125 | Radiation dosimetres/ radiations level meters | L125-1 | Radiation dosimeters | IV;PV | 1 |
|  |  |  | L125-2 | Radiation level meters | IV;PV | 1 |
|  |  |  | L125-3 | Radiation exposure meters | IV;PV | 1 |

Note:

- The interval (years) refers to the maximum allowed interval between two succesive verifications.

- TA – type approval

- IV – initial verification